Clerks’ Report

Week ending 12th June 2026

Email distribution

Weekly SSDC Parish Newsletter

Low water pressure response at Wrottesley Village

NALC Chief Executives bulletin

Other matters

ESP Water Utilities - Water pressure update for Wrottesley Village:

Following the increase to the incoming flow from 1.33l/s to 7.5l/s at the site entrance, we attended the site to complete further testing. The results of these tests returned conclusive evidence that both the pressure and flow being supplied across the network by ESP is sufficient and far exceeds both Ofwat and ESP’s minimum standards. Based on this, we have concluded alongside the developer, that the root-cause of the issue is internal flow restricting fittings. For that reason, we have recommended to both the developer and the residents that these fittings be removed in order to increase the flow to properties.

Staffordshire County Council – £690 funding applied for towards the purchase of a projector screen has been approved.

The caretakers have completed the following works this week:

- New shelter at Pavilion for line marking equipment

- New boot scraper fitted at Pavilion

- The Dutch Garden has been cleared of weeds and replanted with perennial plants and shrubs, new bark has been added to help supress future weeds.