# Minutes of the meeting of Perton Parish Council

# Management Committee held on Wednesday 28th January 2026 7.00pm

## Present:

Councillors:  Mrs P Allen, Mrs S Beardsmore, N Caine, P Davis, K Elder, C Evans , D Glynn, Mrs R Heseltine (Chairman), and Mrs B Walters.

Parish Clerk:  Mrs B Hodgetts

Also present: 2 members of public

## M17/25 – Apologies for Absence

No apologies were received.

## M18/25 – Declaration of Disclosable Pecuniary and other Interests and Dispensation requests.

No Declarations or dispensation requests were received.

## M19/25- Minutes

Resolved that the minutes of the Management Committee meeting held on 3rd December 2025 were a true and correct record.

## M20/25 – Management report

- Emergency lighting tested – 2 x lighting required and 1 new key switch

- Fire extinguisher service completed – required 1 x water and 1 x Co2 for Civic Centre

- 2 x foam and 1 x Co2 for Pavilion

- Asbestos survey for the kitchen floor found no trace of asbestos

- There are loose tiles in the nursery corridor but have not broken at present

- Fire risk assessment completed

- Door at the top of the stairs new door handle required

- Light outside the toilets changed

- CCTV installed in the downstairs office

## M21/25 – To consider the following works:

- Replace slabs  from the curtilage of the Civic Centre onto Sainsburys car park with concrete – it was approved in but to ascertain that no services run under the slabs and to get an approximate cost for the works. To present findings at the April meeting.

- Resolved to apply frosted window film for privacy to the windows in Terry Harding and Madeline Moore room at a cost of £100 inc. vat and delivery.

## M22/25 – Civic Centre Kitchen Floor

## The kitchen tiles have pushed up the vinyl.  It was Resolved that the Caretakers will relay the tiles and vinyl.

## M23/25 – Asbestos Survey

5 quotes for surveying the Civic Centre and Pavilion were presented to the committee.  Resolved to appoint SGS United Kingdom at a cost of £575 for both Civic Centre and Pavilion.

## M24/25 – Emergency lighting repairs

Resolved to approve the replacement lighting at a cost of £225 inc. VAT

## M25/25 - Electric heating

The installation of electric heating will need further investigation. Owing to the cost, the matter would need to go out to tender. It was Resolved that the Clerk arrange a meeting with an appropriate expert to answer councillors’ questions.

## M26/25 – Fire risk assessments

Risk assessments for the Civic Centre and Pavilion were presented to the committee.  Some of the actions have already been completed and others are being addressed.

## M27/25 – Policies

- High Consequence of Disease – Resolved to approve the amendments.

- Asset recording/disposal policy – Resolved no amendments required

## M28/25 – Date and time of next meeting – Wednesday 29th April 2026 at 7pm

Meeting closed at 8.08pm

Signed …………………………………………………………………               Date:   ………………………………………

Chairman